**ANNEXURE - 4**

ENQUIRY NO : CeNS/2016-17/SA/F09

**Technical specification for** Turbo Molecular Pumping system:-

Pumping speed ~ 65 ltrs/s

Scroll dry pump ~ 10 m3/hr
Turbo drive and vent vale

Solenoid operated In line valves – 2 nos.

Baking and roughing valves
3 Pirani and 1 Penning units

Suitable SS bellow lines