**Detailed Specification**

|  |  |  |  |
| --- | --- | --- | --- |
| **Sr. No.** | **ITEM DESCRIPTION** | **UNIT** | **QTY** |
| 1 | **Spot Extractor** |  |  |
| 2 | Transparent Hood 1-7535-5 - Dia 385 Mm | Nos. | 2.00 |
| 3 | Wall Mounted bracket | Nos. | 2.00 |
| 4 | Alsident System 75Exhaust Arm (75-6555-3-5) Ceiling Mounted 3White Joints, Reach1230 Mm | Nos. | 2.00 |
| 5 | Centrifugal Blower (1 HP) with DOL Starter in cluster of 2 nos. of spot extractor | Nos. | 1.00 |
| 6 | PP + FRP Ducting (per square feet) | Sqft. | 200.00 |
| 7 | **Lab Furniture** |  |  |
| 8 | Granite worktop (17 to 19 mm) | Sqft. | 59.00 |
| 9 | 1 Drawer & 2 Shutters- 600 mm(L) | Nos. | 2.00 |
| 10 | 2 Shutters Sink Unit - 600 mm(L) | Nos. | 1.00 |
| 11 | 1 Drawer & 2 Shutters- 600 mm(L) | Nos. | 1.00 |
| 12 | 1 Drawer & 2 Shutters- 750 mm(L) | Nos. | 1.00 |
| 13 | 175 mm(H) Pedestal - 750 mm | Nos. | 1.00 |
| 14 | 175 mm(H) Pedestal - 600 mm | Nos. | 4.00 |
| 15 | Leg Space-690 mm(L) with Foot Rest And Back Panel(size:-690 mm(L) x 575 mm(H)) | Nos. | 1.00 |
| 16 | Leg Space-600 mm(L) with Foot Rest And Back Panel(size:-600 mm(L) x 425 mm(H)) | Nos. | 1.00 |
| 17 | Leg Space-690 mm(L) with Foot Rest And Back Panel(size:-690 mm(L) x 425 mm(H)) | Nos. | 2.00 |
| 18 | Leg Space-720 mm(L) with Foot Rest And Back Panel(size:-720 mm(L) x 425 mm(H)) | Nos. | 1.00 |
| 19 | Gap Closing Panel for L stand ( Table 900 mm(H))- 488 mm(W) X 643 mm(H) | Nos. | 1.00 |
| 20 | Gap Closing Panel for L stand ( Table 750 mm(H))- 488 mm(W) X 493 mm(H) | Nos. | 6.00 |
| 21 | Gap Closing Panel ( Table 750 mm(W) )- 150 mm(W) X 675 mm(H) | Nos. | 1.00 |
| 22 | Reagent Rack:2 Tier Str. with Switch & Sockets w/o Wiring with 3mm Friction Glass 1350 mm(L) X 150 mm(W) X 600 mm(H) | Nos. | 1.00 |
| 23 | Elect. Socket With Piano Switch 5/15Amp (Northwest/ Norisys Make) Without Wiring | Nos. | 2.00 |
| 24 | Wall Mounted Overhead File Cabinets (Float Glass Door) GI Structure 2 Shutter with 1 adjustable shelf Size -750 mm (L) x 370 mm (D) x 750 mm (H) | Nos. | 2.00 |
| 25 | ''Floor Mounted Full Height PP Chemical Storage Cabinets Size:- 1000 mm L x 450mm W x 1800 mm H (Two numbers Polycarbonate Door and polypropylene liner with Three adjustable shelves & Two fix shelf, each shelf will have 2nos. PP tray) Total PP Trays 10Nos**\*With LED Lighting Provision** | Nos. | 1.00 |
| 26 | Floor Mounted Full Height File / Glass Storage Cabinets Float Glass Door GI structure 2 Shutter with 4 adjustable shelves & 1 fix shelf Size -1000 mm (L) x 450 mm (D) x 1800 mm (H) | Nos. | 2.00 |
| 27 | Single Eye Wash 45° 100/38 Make : Premier | Nos. | 1.00 |
| 28 | Furniture Peg Board Big Size: 750Mm L X 750Mm H ( 30 Pegs.) With Ss Collection Tray. | Nos. | 1.00 |
| 29 | 3 Way Gooseneck Water Tap, Type Code 100/32 ( Indian ) | Nos. | 1.00 |
| 30 | PP SQUARE SINK 13.5"LX13.5"WX10"D | Nos. | 1.00 |
| 31 | One Way Utility Tap For Nitrogen ( Indian ) | Nos. | 1.00 |
| 32 | L Type End Support Stand 780 mm(L) X 550 mm(W) X 700 mm(H) | Nos. | 1.00 |
| 33 | L Type End Support Stand 780 mm(L) X 550 mm(W) X 850 mm(H) | Nos. | 1.00 |
| 34 | L Type End Support Stand 630 mm(L) X 550 mm(W) X 700 mm(H) | Nos. | 1.00 |
| 35 | Modesty Panel (Table 750 mm(H))- 1000 mm(L) x 525 mm(H) | Nos. | 2.00 |
| 36 | Frame Table :- 750L X 540D X 700HT. | Nos. | 2.00 |